## Rehab Cost Estimator
f
Hammerpoint Home Repair Estimator
Property Address: | [5 empty] | Vacant or Occupied: |  |  | Date:
Bedrooms: |  |  | Bathrooms: |  | Sq Ft: |  |  | Inspected By:
EXTERIOR
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
Roof * |  |  | Roof (rip and replace) - architectural shingle |  |  |  |  | sf | 14 | 0
Possible additional Inspections, Quotes or Mediation needed |  |  | Rollover (add a layer of shingles) - architectural shingle |  |  |  |  | sf | 10 | 0
|  |  | Roof Sheathing - plywood 1/2" remove & install |  |  |  |  | ea | 165 | 0
|  |  | Roof repair/patch (hard) |  |  |  |  | ea | 900 | 0
|  |  | Roof repair/patch (easy) |  |  |  |  | ea | 600 | 0
|  |  | Premium for 3 layer tear off |  |  |  |  | sf | 0.35 | 0
|  |  | Premium for steep pitched roof |  |  |  |  | sf | 0.2 | 0
|  |  | Fascia - demo & install new |  |  |  |  | lf | 25 | 0
|  |  | Soffit - demo & install new |  |  |  |  | lf | 25 | 0
|  |  | Gutters & downspouts - demo & install new (linear foot) |  |  |  |  | lf | 7 | 0
Finish |  |  | Demo existing finishing material |  |  |  |  | sf | 0.75 | 0
|  |  | Stucco |  |  |  |  | sf | 9 | 0
|  |  | Wood siding |  |  |  |  | sf | 6 | 0
|  |  | Vinyl siding |  |  |  |  | sf | 4 | 0
|  |  | Fiber cement siding |  |  |  |  | sf | 10 | 0
|  |  | Plywood panel siding |  |  |  |  | sf | 2.5 | 0
|  |  | Patch an exterior section |  |  |  |  | ls | 500 | 0
|  |  | Power wash exterior finish |  |  |  |  | sf | 0.75 | 0
Masonry |  |  | Fireplace/chimney, brick/stone - replace existing |  |  |  |  | ls | 5000 | 0
|  |  | Concrete block |  |  |  |  | sf | 6 | 0
|  |  | Stone |  |  |  |  | sf | 18 | 0
|  |  | Brick |  |  |  |  | sf | 11.5 | 0
|  |  | Repoint brick |  |  |  |  | sf | 6 | 0
|  |  | Power wash exterior masonry |  |  |  |  | sf | 0.75 | 0
Painting |  |  | Painting interior of property |  |  |  |  | sf | 3.1 | 0
|  |  | Painting exterior only |  |  |  |  | sf | 2 | 0
|  |  | Paint trim only |  |  |  |  | lf | 2.15 | 0
|  |  | Sand & refinish deck or paint deck |  |  |  |  | sf | 2 | 0
|  |  | Paint fence |  |  |  |  | sf | 1.5 | 0
|  |  | Paint detached garage |  |  |  |  | sf | 2 | 0
Windows |  |  | Windows, vinyl, average size |  |  |  |  | ea | 350 | 0
|  |  | Windows, wood, restore existing wood (historical) |  |  |  |  | ea | 600 | 0
|  |  | Window, large bay window - remove & replace |  |  |  |  | ea | 850 | 0
EXTERIOR (cont.)
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
Garage |  |  | Garage Door Only - 1 Car - 9'x7' door, manual |  |  |  |  | ea | 840 | 0
|  |  | Garage Door Only - 2 Car - 16' door, manual |  |  |  |  | ea | 1400 | 0
|  |  | Garage Door Opener Installed |  |  |  |  | ea | 450 | 0
|  |  | Reroof detached garage (rip & replace) |  |  |  |  | sf | 7 | 0
|  |  | Build new detached garage |  |  |  |  | sf | 60 | 0
Landscaping |  |  | Full landscaping makeover large lot |  |  |  |  | ls | 5000 | 0
|  |  | Full landscaping makeover medium lot |  |  |  |  | ls | 3500 | 0
|  |  | Full landscaping makeover small lot |  |  |  |  | ls | 2000 | 0
|  |  | Clean up landscaping & yard only |  |  |  |  | ls | 500 | 0
|  |  | Tree removal (per tree) |  |  |  |  | ea | 1000 | 0
|  |  | Tree Planting (per tree) |  |  |  |  | ea | 180 | 0
Concrete/Asphalt |  |  | Demo existing concrete or asphalt |  |  |  |  | sf | 2 | 0
|  |  | Concrete installed for driveway/patio/sidewalk |  |  |  |  | sf | 15 | 0
|  |  | Asphalt installed in driveway |  |  |  |  | sf | 8 | 0
|  |  | Gravel installed for driveway/sidewalk |  |  |  |  | sf | 3 | 0
Decks |  |  | New deck 15'x15' (add permit if 30" off ground) |  |  |  |  | ea | 7000 | 0
|  |  | New deck 10'x10' |  |  |  |  | ea | 4200 | 0
|  |  | New deck - treated lumber |  |  |  |  | sf | 15 | 0
|  |  | New deck - cedar material |  |  |  |  | sf | 19 | 0
|  |  | Decking material replacement only |  |  |  |  | sf | 7 | 0
|  |  | Sand & refinish deck only |  |  |  |  | sf | 2 | 0
|  |  | New railings - wood |  |  |  |  | lf | 24 | 0
|  |  | New railings - metal |  |  |  |  | lf | 65 | 0
Pergola |  |  | New pergola canopy 15'x15' |  |  |  |  | ea | 3500 | 0
|  |  | New pergola canopy 10'x10' |  |  |  |  | ea | 2500 | 0
Fence |  |  | Wood fencing |  |  |  |  | lf | 24 | 0
|  |  | Wrought iron fencing |  |  |  |  | lf | 45 | 0
|  |  | Chain-link fence |  |  |  |  | lf | 8 | 0
Pool * |  |  | Pool Completely Redone ($10k to $15k) |  |  |  |  | ea | 10000 | 0
Possible add'l Inspections needed |  |  | Pool (redo plaster only) |  |  |  |  | ea | 4500 | 0
Septic * |  |  | Septic (all new system) |  |  |  |  | ea | 15000 | 0
Possible additional Inspections, Quotes or Mediation needed |  |  | Septic (new tank only) |  |  |  |  | ea | 5500 | 0
|  |  | Septic (replace leach field only) |  |  |  |  | ea | 3000 | 0
Exterior Notes
INTERIOR
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
Painting |  |  | Interior painting only |  |  |  |  | sf | 2.75 | 0
|  |  | Add extra wall prep (damaged walls) |  |  |  |  | sf | 0.5 | 0
Hardwood |  |  | Hardwood flooring - solid wood |  |  |  |  | sf | 4.95 | 0
|  |  | Engineered hardwood flooring |  |  |  |  | sf | 4.5 | 0
|  |  | Laminate hardwood flooring |  |  |  |  | sf | 3.5 | 0
|  |  | Sand & refinish existing hardwood flooring |  |  |  |  | sf | 1.9 | 0
Carpet / Vinyl |  |  | Carpet |  |  |  |  | sf | 2.5 | 0
|  |  | Vinyl or linoleum flooring |  |  |  |  | sf | 2 | 0
Tiling |  |  | Ceramic floor tile - in kitchen (labor only) |  |  |  |  | sf | 8 | 0
|  |  | Backsplash wall tile - in kitchen (labor only) |  |  |  |  | sf | 20 | 0
|  |  | Ceramic floor tile - in bathrooms (labor only) |  |  |  |  | sf | 11 | 0
|  |  | Shower wall tile - in bathrooms (70 sf usually)(labor only) |  |  |  |  | sf | 9 | 0
|  |  | Shower accent wall tile - in bathrooms (labor only) |  |  |  |  | sf | 9 | 0
|  |  | Ceramic floor tile - other areas of house |  |  |  |  | sf | 8 | 0
Kitchen - (Grouped) |  |  | High end kitchen |  |  |  |  | ea | 12500 | 0
Includes: cabinets, counter-tops, backsplash, plumbing & electrical work & fixtures in kitchen only. Excludes: appliances, flooring, paint. |  |  | Median kitchen |  |  |  |  | ea | 10000 | 0
|  |  | Low end kitchen |  |  |  |  | ea | 8500 | 0
|  |  | Low end kitchen - refinish existing cabinets |  |  |  |  | ea | 6500 | 0
|  |  | Kitchen extra custom items |  |  |  |  | ea | 500 | 0
Appliances - (Grouped) |  |  | Luxury home appliances |  |  |  |  | ea | 12000 | 0
Includes: Refrigerator, range, range hood, dishwasher, microwave |  |  | High end home appliances |  |  |  |  | ea | 7000 | 0
|  |  | Median price home appliances |  |  |  |  | ea | 4500 | 0
|  |  | Low end home appliances |  |  |  |  | ea | 2000 | 0
Kitchen - (By Item) labor inlcuded |  |  | Cabinets- LVL. 2 |  |  |  |  | lf | 250 | 0
|  |  | Countertops LVL. 1 |  |  |  |  | sf | 45 | 0
|  |  | Sink |  |  |  |  | ea | 200 | 0
|  |  | Sink Faucet |  |  |  |  | ea | 300 | 0
|  |  | Garbage Disposal |  |  |  |  | ea | 350 | 0
|  |  | Refrigerator |  |  |  |  | ea | 1700 | 0
|  |  | Range |  |  |  |  | ea | 850 | 0
|  |  | Range Hood |  |  |  |  | ea | 400 | 0
|  |  | Dishwasher |  |  |  |  | ea | 800 | 0
|  |  | Microwave |  |  |  |  | ea | 500 | 0
Bathroom - (Grouped) |  |  | Large master bath - replace everything |  |  |  |  | ea | 9000 | 0
Includes: vanity, counter-top, mirror, sink, faucet, tub, surround, shower-head & faucet kit, towel bar kit fan, lighting kit, basic plumbing & electrical work. Excludes flooring & paint |  |  | Full bath - replace everything |  |  |  |  | ea | 5000 | 0
|  |  | Half bath - replace everything |  |  |  |  | ea | 3000 | 0
|  |  | Half bath - batsement with pump |  |  |  |  | ea | 5000 | 0
Bathroom - (By Item)- |  |  | Vanity cabinet 60" w/ top lvl 2 |  |  |  |  | ea | 1200 | 0
|  |  | Vanity cabinet 36" w/ top lvl 2 |  |  |  |  | ea | 700 | 0
|  |  | Vanity cabinet 30" w/ top lvl 1 |  |  |  |  | ea | 450 | 0
|  |  | Vanity countertop - granite or other hard surface |  |  |  |  | ea | 150 | 0
|  |  | Vanity mirror |  |  |  |  | ea | 100 | 0
|  |  | Sink |  |  |  |  | ea | 175 | 0
|  |  | Sink Faucet |  |  |  |  | ea | 150 | 0
|  |  | Toilet |  |  |  |  | ea | 350 | 0
|  |  | Bathtub - fiberglass |  |  |  |  | ea | 450 | 0
|  |  | Bathtub & shower surround - fiberglass |  |  |  |  | ea | 500 | 0
|  |  | Shower stall & surround - fiberglass |  |  |  |  | ea | 400 | 0
|  |  | Showerhead & faucet kit |  |  |  |  | ea | 210 | 0
|  |  | Bathroom towel bar kit |  |  |  |  | ea | 100 | 0
INTERIOR (cont.)
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
Framing |  |  | New construction framing- (includes walls, floors & roof) |  |  |  |  | sf | 30 | 0
|  |  | Interior framing changes (non load barring) |  |  |  |  | sf | 15 | 0
|  |  | Open load bearing/structural wall |  |  |  |  | ea | 1500 | 0
|  |  | Subfloor put in (3/4" plywood) |  |  |  |  | sf | 1.85 | 0
Insulation |  |  | Wall insulation |  |  |  |  | sf | 1.4 | 0
|  |  | Roof insulation |  |  |  |  | sf | 3 | 0
|  |  | Attic insulation, blown-in |  |  |  |  | sf | 1.1 | 0
Walls |  |  | Drywall, tape & skimcoat walls/ceilings in gutted house |  |  |  |  | sf | 6 | 0
|  |  | Drywall, tape, & skimcoat a wall (1/2" thick) |  |  |  |  | sf | 2.5 | 0
|  |  | Drywall, tape, & skimcoat a ceiling (1/2" thick) |  |  |  |  | sf | 4 | 0
|  |  | Skimcoating/texturing walls and ceilings only |  |  |  |  | sf | 1 | 0
|  |  | Patchwork section of a wall - (drywall, tape, & finish) |  |  |  |  | ea | 500 | 0
Doors & Trim |  |  | New interior doors, closet doors, hardware, & trim (3000 sq ft house) |  |  |  |  | ea | 6900 | 0
|  |  | New interior doors, closet doors, hardware, & trim (1500 sq ft house) |  |  |  |  | ea | 3800 | 0
|  |  | Interior door - prehung hollow-core door |  |  |  |  | ea | 210 | 0
|  |  | Interior sliding closet door |  |  |  |  | ea | 175 | 0
|  |  | Exterior front door - single door w/ hardware & dead bolt |  |  |  |  | ea | 450 | 0
|  |  | Exterior french patio door - double door LVL. 1 |  |  |  |  | ea | 958 | 0
|  |  | Exterior sliding glass door - double door LVL 1 |  |  |  |  | ea | 1059 | 0
|  |  | Crown molding |  |  |  |  | lf | 3.75 | 0
|  |  | New baseboard trim-builder spec LVL 1 |  |  |  |  | lf | 1.7 | 0
|  |  | Raised panel wood wainscoting (32 x 48 MDF) |  |  |  |  | lf | 5.59 | 0
Basement |  |  | Pour concrete floor in basement |  |  |  |  | sf | 10 | 0
|  |  | Seal basement |  |  |  |  | ea | 450 | 0
|  |  | Install sump pump |  |  |  |  | ea | 1000 | 0
|  |  | Install french drains (estimate depending on condition - L x W) |  |  |  |  | lf | 48 | 0
|  |  | Reframe support beam |  |  |  |  | ea | 500 | 0
|  |  | Replace stairs |  |  |  |  | ea | 1000 | 0
Foundation * |  |  | Excavation - dig footing trenching |  |  |  |  | lf | 20 | 0
Possible additional Inspections, Quotes or Mediation needed |  |  | Excavation - backfill of trenches |  |  |  |  | cu yd | 250 | 0
|  |  | New foundation - pour concrete footing |  |  |  |  | lf | 30 | 0
|  |  | New foundation - pour concrete slab on grade (4" thick) |  |  |  |  | sf | 15 | 0
|  |  | New foundation - pour stem wall for single story house |  |  |  |  | lf | 100 | 0
|  |  | Repair existing foundation - ($10k min - get quote) |  |  |  |  | ea | 10000 | 0
|  |  | Repair existing foundation - stair mud jacking (will vary) |  |  |  |  | ea | 500 | 0
|  |  | Repair existing foundation - bowing walls support with I beams |  |  |  |  | ea | 500 | 0
|  |  | Repair existing foundation - settled walls support w/piers |  |  |  |  | ea | 850 | 0
Interior Notes
MECHANICALS
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
HVAC |  |  | Gas fired forced hot air heating system, ac system, & ductwork |  |  |  |  | ea | 7500 | 0
|  |  | Gas fired forced hot air heating system & ductwork |  |  |  |  | ea | 6000 | 0
|  |  | Gas fired forced hot air unit only |  |  |  |  | ea | 3000 | 0
|  |  | Air conditioning unit only |  |  |  |  | ea | 3000 | 0
|  |  | Replace forced air ductwork only |  |  |  |  | ea | 2300 | 0
|  |  | Replace boiler & hot water baseboard system |  |  |  |  | ea | 6500 | 0
|  |  | Replace boiler unit only |  |  |  |  | ea | 3000 | 0
|  |  | Wall heater (install new or remove & replace) |  |  |  |  | ea | 600 | 0
|  |  | Service heating & cooling system only |  |  |  |  | ea | 700 | 0
Plumbing |  |  | New plumbing system in entire house (1,500 sq. ft 3/2 house) |  |  |  |  | ea | 7200 | 0
|  |  | Replace tankless hot water heater |  |  |  |  | ea | 1500 | 0
|  |  | Replace gas hot water heater - 40 gallon |  |  |  |  | ea | 600 | 0
Electrical |  |  | Rewire entire house, new panel, & lighting fixtures (1,500 sqft) |  |  |  |  | ea | 7800 | 0
|  |  | Basic electrical work for house & lighting fixtures (1500 sq. ft) |  |  |  |  | ea | 4000 | 0
|  |  | Replace electrical service only |  |  |  |  | ea | 2000 | 0
|  |  | Replace all lighting fixtures only (1500 sq. ft. house) |  |  |  |  | ea | 2000 | 0
OTHER
Category |  | Y/N | Repair Type |  |  |  | # | Unit | Cost | Total
Demo & Dumpsters |  |  | Demolition work (cost to fill one 40 yd dumpster) |  |  |  |  | ea | 1000 | 0
|  |  | Dumpster rental (40 yard) |  |  |  |  | ea | 800 | 0
Termites/Abatement * |  |  | Termite fumigation & treatment |  |  |  |  | ls | 1000 | 0
Possible additional Inspections, Quotes or Mediation needed |  |  | Mold removal & abatement - minimum |  |  |  |  | ls | 2000 | 0
|  |  | Asbestos removal & abatement - minimum |  |  |  |  | ls | 1500 | 0
Permits * Direct Cost |  |  | Building permit for remodel (city)-EZ Standard |  |  |  |  | ea | 500 | 0
Possible additional Inspections, Quotes or Mediation needed |  |  | Construction permits for addition (city) |  |  |  |  | ea | 5000 | 0
|  |  | Construction permits for deck (city) |  |  |  |  | ea | 150 | 0
|  |  | Construction permits over the counter |  |  |  |  | ea | 500 | 0
|  |  | Construction permits for full submittal (county) |  |  |  |  | ea | 1500 | 0
|  |  | Construction permits for addition (county) |  |  |  |  | ea | 5000 | 0
|  |  | Construction permits for deck (county) |  |  |  |  | ea | 600 | 0
0
[8 empty] | Repairs Subtotal | 0
Staging |  |  | Staging (Kitchen, Baths, Living Room & 1 Bedroom) |  |  |  |  | ea | 2000 | 0
Contingency |  |  | Misc Contingency Cost (10-20% depending on unknowns) |  |  |  |  | % | 0
[7 empty] | TOTAL REPAIRS |  | 0
Additional Notes
FINAL REPAIR ESTIMATE
| Exterior Repairs |  |  | 0 |  | Mechanical Repairs |  | 0
| Interior Repairs |  |  | 0 |  | Other Repairs |  | 0
| Total Repairs |  |  | 0 |  | After Repair Value |  |  | 0